-63-

HT Section,

Electricity Department

101. 	This file relates to revision of CC bill for the month of March 2026 in respect of HT Consumer Code No. 418 – M/s. National Polyplast (India) Pvt. Ltd., Thiruvandarkoil Village, Mannadipet Commune, Pondicherry – 605102 as per actual KVAH reading provided after sight inspection.

102. 	A communication has been received from the Junior Engineer, T.A. Koil O&M vide letter No. 27/ED/JE-TA Koil/F.8/2026-27 dated 20.04.2026, forwarded by the Assistant Engineer, Thirubhuvanai Sub-Station.

In the said communication, it is reported that while verifying the bill data, correction is required in the KVAH present reading adopted for the month of March 2026.

103. 	It is reported that the site was inspected on 17.04.2026 and the reading was verified from the Bill-1 data of the meter. On verification, it is found that the actual KVAH present reading is found to be 15507, whereas 15567 was erroneously adopted in the Reading Statement and Reading Card Submitted earlier.

104. 	Due to the above wrong KVAH present reading, excess KVAH consumption has been billed in the CC bill for March 2026.

Billed Reading for March – 2026

|  | Previous Reading | Present Reading | Difference | Multi Factor | Consumption |
| --- | --- | --- | --- | --- | --- |
| KWH | 15053.87 | 15347.98 | 294.11 | 2000 | 588220 |
| KVAH | 15212.71 | 15567.35 | 354.64 | 2000 | 709280 |

Actual Reading for March – 2026

|  | Previous Reading | Present Reading | Difference | Multi Factor | Consumption |
| --- | --- | --- | --- | --- | --- |
| KWH | 15053.87 | 15347.98 | 294.11 | 2000 | 588220 |
| KVAH | 15212.71 | 15507.35 | 294.64 | 2000 | 589280 |

March - 2026 CC Bill

| CONSUMPTION DETAILS | BEFORE REVISION | AFTER REVISION |
| --- | --- | --- |
| KWH UNITS | 588220 | 588220 |
| KVAH UNITS | 709280 | 589280 |
| SANCTION DEMAND | 1250 | 1250 |
| REC. DEMAND | 998 | 998 |
| CHAR. DEMAND | 1062.50 | 1062.50 |
| EXCE.DEMAND | 0 | 0 |
| KVAH EXCESS | 0 | 0 |

-64-

HT Section,

Electricity Department

(From pre-page)

| CLAIM DETAILS |  |  |
| --- | --- | --- |
| UNIT CHARGE | 44,33,000 | 36,83,000 |
| DEM. CHARGE | 4,78,125 | 4,78,125 |
| OTHER CHARGE | 0 | 0 |
| EXE.KW. CHARGE | 0 | 0 |
| SURCHARGE | 4,91,113 | 4,16,113 |
| PROMPT PAY REB | 0 | 0 |
| BILL AMOUNT | 54,02,238 | 45,77,238 |

Excess Amount Claimed for the Month of March – 2026

= 54,02,238 – 45,77,238 = 8,25,000.

105.	Hence, the CC bill for the month of March 2026 requires to be revised by adopting the correct KVAH present reading of 15507.35 and the revised bill may be issued to the consumer.

106. Accordingly, the CC bill for March 2026 may be revised by reducing the unit consumption along with applicable Surcharge to the extent of ₹8,25,000 immediately So as to enable the consumer to make the payment within the due date (30.04.2026).

107.	In view of the above, the file is submitted to SE-cum-HOD for approval to revise the CC bill for the month of March 2026 and issue the revised bill.

Supdt.(HT)

SAO-I  :

FC :

SE- cum-HOD :

108. As approved byy SE-cum-HOD, the bill has been revised and placed for FC signature, Please.

Supdt.(HT)

SAO-I  /FC :