-26-

HT Section,

Electricity Department

100. 	This file relates to revision of demand charges in CC bill for February 2026 in respect of EHT consumer M/s. Sumangala Steels (P) Ltd, Mettupalayam Industrial Estate, Puducherry.

101. 	A communication has been received from the Assistant Engineer, Kurumbapet Sub-Division vide I.D. Note No. 459/ED/AE-KRPT/F. SSPL/2025-26 Dated 18.03.2026.

Based on the request made by the consumer to revise the erratic demand charges claimed for the month of February 2026.

102. 	On verification of the billing data, it is observed that:

- The energy reading was taken on 02.03.2026

- The actual Maximum Demand (MD) recorded is 0.1542724

103. 	While updating the billing data, the Maximum Demand for February 2026 was erroneously entered as 19,340.50 KVA instead of the correct value of 19,284.05 KVA (125000 × 0.1542724),which resulted in excess demand charges.

Recorded Demand with Given MD at the time of Billing

| M. D | M.F | Resultant Recorded Demand |
| --- | --- | --- |
| 0.1547240 | 125000 | 19340.5 |

Recorded Demand with Actual MD

| M. D | M.F | Resultant Recorded Demand |
| --- | --- | --- |
| 0.1542724 | 125000 | 19284.05 |

Reading for February – 2026

|  | Previous Reading | Present Reading | Difference | Multi Factor | Consumption |
| --- | --- | --- | --- | --- | --- |
| KWH | 6561.123 | 6643.485 | 82.361 | 125000 | 10295187 |
| KVAH | 6635.847 | 6719.524 | 83.677 | 125000 | 10459625 |

February - 2026 CC Bill

| CONSUMPTION DETAILS | BEFORE REVISION | AFTER REVISION |
| --- | --- | --- |
| KWH UNITS | 10295187 | 10295187 |
| KVAH UNITS | 10459625 | 10459625 |
| SANCTION DEMAND | 20750 | 20750 |
| REC. DEMAND | 19340.5 | 19284.05 |
| CHAR. DEMAND | 19340.5 | 19284.05 |
| EXCE.DEMAND | 0 | 0 |
| KVAH EXCESS | 0 | 0 |

-27-

HT Section,

Electricity Department

(From pre-page)

| CLAIM DETAILS |  |  |
| --- | --- | --- |
| UNIT CHARGE | 6,38,03,713 | 6,38,03,713 |
| DEM. CHARGE | 96,70,250 | 96,42,025 |
| OTHER CHARGE | 0 | 0 |
| EXE.KW. CHARGE | 0 | 0 |
| SURCHARGE | 73,47,396 | 73,44,574 |
| PROMPT PAY REB | 0 | 0 |
| BILL AMOUNT | 8,08,21,359 | 8,07,90,312 |

Excess Amount Claiming for the Month of February – 2026

= 8,08,21,359 – 8,07,90,312 = 31,047

104.	Hence, the CC bill for February 2026 requires to be revised by correcting the Recorded Demand value.

105. As per Clause 7.26 & JERC Supply Code, 2018. “If the Complaint is found to be correct by the Licensee, a revised bill shall be issued within 5 working days of intimation of the same to the consumer. The Consumer shall make the payment within 15 days after receipt of the revised bill. The consumer shall not be charged any late payment surcharge, if the payment is made by the revised due date”. Accordingly, the CC bill for February 2026 may be revised by reducing the demand charges along with applicable Surcharge to the extent of ₹31,047 prior to payment.

106.	In view of the above, the file is submitted for approval to revise the CC bill for February 2026 by correcting the demand charges prior to payment.

Supdt.(HT)

SAO-I  :

FC :

SE- cum-HOD :