-26-

HT Section,

Electricity Department

100. 	This file relates to revision of CC bills from November 2025 to February 2026 in respect of Consumer No. 277 – M/s. National Archives of India, Lawspet, Puducherry..

101. 	A communication has been received from the Junior Engineer, Ashok Nagar O&M vide letter No. 675/ED/JE/AN(O&M)/F.5/2025-26 dated 23.03.2026, through the Assistant Engineer, Lawspet Sub-Division.

The consumer has requested correction of Contracted Maximum Demand (CMD) adopted in the bills from November 2025 onwards.

102. 	It is reported that the above consumer had obtained approval for load reduction from 300 KVA to 150 KVA in October 2023, vide departmental order already issued.

Accordingly, the sanctioned demand stood reduced to 150 KVA.

103. 	However, during scrutiny of billing records, it is observed that from November 2025 onwards, the monthly electricity bills were generated considering the CMD as 300 KVA instead of 150 KVA.

Due to the above error, excess demand charges have been levied in the bills for the following months:

- November 2025

- December 2025

- January 2026

- February 2026

104.	The error appears to be clerical / billing data entry related and is not attributable to the consumer.

Hence, the CMD for the affected billing periods requires to be corrected from 300 KVA to 150 KVA, and the excess amount collected requires to be adjusted.

105.	Since the bills for the above months have already been issued / paid, the excess amount arising due to wrong CMD may be adjusted in the subsequent current consumption bills after revision.

Billed Reading for November – 2025

|  | Previous Reading | Present Reading | Difference | Multi Factor | Consumption |
| --- | --- | --- | --- | --- | --- |
| KWH | 15053.87 | 15347.98 | 294.11 | 2000 | 588220 |
| KVAH | 15212.71 | 15567.35 | 354.64 | 2000 | 709280 |

-27-

HT Section,

Electricity Department

(From pre-page)

Billed Reading for December – 2025

|  | Previous Reading | Present Reading | Difference | Multi Factor | Consumption |
| --- | --- | --- | --- | --- | --- |
| KWH | 15053.87 | 15347.98 | 294.11 | 2000 | 588220 |
| KVAH | 15212.71 | 15507.35 | 294.64 | 2000 | 589280 |

Billed Reading for January – 2026

|  | Previous Reading | Present Reading | Difference | Multi Factor | Consumption |
| --- | --- | --- | --- | --- | --- |
| KWH | 15053.87 | 15347.98 | 294.11 | 2000 | 588220 |
| KVAH | 15212.71 | 15507.35 | 294.64 | 2000 | 589280 |

Billed Reading for February – 2026

|  | Previous Reading | Present Reading | Difference | Multi Factor | Consumption |
| --- | --- | --- | --- | --- | --- |
| KWH | 15053.87 | 15347.98 | 294.11 | 2000 | 588220 |
| KVAH | 15212.71 | 15507.35 | 294.64 | 2000 | 589280 |

November - 2025 CC Bill

| CONSUMPTION DETAILS | BEFORE REVISION | AFTER REVISION |
| --- | --- | --- |
| KWH UNITS | 588220 | 588220 |
| KVAH UNITS | 709280 | 589280 |
| SANCTION DEMAND | 1250 | 1250 |
| REC. DEMAND | 998 | 998 |
| CHAR. DEMAND | 1062.50 | 1062.50 |
| EXCE.DEMAND | 0 | 0 |
| KVAH EXCESS | 0 | 0 |

| CLAIM DETAILS |  |  |
| --- | --- | --- |
| UNIT CHARGE | 44,33,000 | 36,83,000 |
| DEM. CHARGE | 4,78,125 | 4,78,125 |
| OTHER CHARGE | 0 | 0 |
| EXE.KW. CHARGE | 0 | 0 |
| SURCHARGE | 4,91,113 | 4,16,113 |
| PROMPT PAY REB | 0 | 0 |
| BILL AMOUNT | 54,02,238 | 45,77,238 |

December - 2025 CC Bill

| CONSUMPTION DETAILS | BEFORE REVISION | AFTER REVISION |
| --- | --- | --- |
| KWH UNITS | 588220 | 588220 |
| KVAH UNITS | 709280 | 589280 |
| SANCTION DEMAND | 1250 | 1250 |
| REC. DEMAND | 998 | 998 |
| CHAR. DEMAND | 1062.50 | 1062.50 |
| EXCE.DEMAND | 0 | 0 |
| KVAH EXCESS | 0 | 0 |

-26-

HT Section,

Electricity Department

(From pre-page)

| CLAIM DETAILS |  |  |
| --- | --- | --- |
| UNIT CHARGE | 44,33,000 | 36,83,000 |
| DEM. CHARGE | 4,78,125 | 4,78,125 |
| OTHER CHARGE | 0 | 0 |
| EXE.KW. CHARGE | 0 | 0 |
| SURCHARGE | 4,91,113 | 4,16,113 |
| PROMPT PAY REB | 0 | 0 |
| BILL AMOUNT | 54,02,238 | 45,77,238 |

January - 2026 CC Bill

| CONSUMPTION DETAILS | BEFORE REVISION | AFTER REVISION |
| --- | --- | --- |
| KWH UNITS | 588220 | 588220 |
| KVAH UNITS | 709280 | 589280 |
| SANCTION DEMAND | 1250 | 1250 |
| REC. DEMAND | 998 | 998 |
| CHAR. DEMAND | 1062.50 | 1062.50 |
| EXCE.DEMAND | 0 | 0 |
| KVAH EXCESS | 0 | 0 |

| CLAIM DETAILS |  |  |
| --- | --- | --- |
| UNIT CHARGE | 44,33,000 | 36,83,000 |
| DEM. CHARGE | 4,78,125 | 4,78,125 |
| OTHER CHARGE | 0 | 0 |
| EXE.KW. CHARGE | 0 | 0 |
| SURCHARGE | 4,91,113 | 4,16,113 |
| PROMPT PAY REB | 0 | 0 |
| BILL AMOUNT | 54,02,238 | 45,77,238 |

February - 2026 CC Bill

| CONSUMPTION DETAILS | BEFORE REVISION | AFTER REVISION |
| --- | --- | --- |
| KWH UNITS | 588220 | 588220 |
| KVAH UNITS | 709280 | 589280 |
| SANCTION DEMAND | 1250 | 1250 |
| REC. DEMAND | 998 | 998 |
| CHAR. DEMAND | 1062.50 | 1062.50 |
| EXCE.DEMAND | 0 | 0 |
| KVAH EXCESS | 0 | 0 |

| CLAIM DETAILS |  |  |
| --- | --- | --- |
| UNIT CHARGE | 44,33,000 | 36,83,000 |
| DEM. CHARGE | 4,78,125 | 4,78,125 |
| OTHER CHARGE | 0 | 0 |
| EXE.KW. CHARGE | 0 | 0 |
| SURCHARGE | 4,91,113 | 4,16,113 |
| PROMPT PAY REB | 0 | 0 |
| BILL AMOUNT | 54,02,238 | 45,77,238 |

-27-

HT Section,

Electricity Department

(From pre-page)

106.	As per Clause 5.50 of JERC Supply Code, 2018:

“Any excess / deficient payment made by the consumer shall be adjusted in the subsequent two bills.”

Accordingly, the excess amount after revision may be adjusted in the ensuing bills.

107.	Further, necessary corrections may also be carried out in the billing master data so that the revised CMD of 150 KVA is duly reflected in all forthcoming bills.

108. In view of the above, the file is submitted for approval to revise the CC bills from November 2025 to February 2026 by correcting the CMD from 300 KVA to 150 KVA and to adjust the excess amount in forthcoming bills.

Supdt.(HT)

SAO-I  :

FC :

SE- cum-HOD :